## Slide 1: Using JMP® as a Common Language to Interpret Lab-to-Lab Data: A First-Time JMP User’s Perspective
Andrew Kampfschulte & Rob Lievense
September 16, 2015
DISCLAIMER: The opinions presented here are solely our own, and do not necessarily represent the opinions of Perrigo Company or any of its departments or employees.

## Slide 2: Outline
Background
  Changes and Concerns in Pharmaceutical Analysis
Meet the Team
  Technical and Analytical Challenges Consortium
  Analysis Team
Study Design and Setup
  Research Goal and Setup
  Data Description
Formal Analyses (Presented in JMP Journals)

## Slide 3
Background

## Slide 4: Changes in Pharmaceutical Analysis
Current Heavy Metals Test is over 100 years old
  Difficult to conduct, numerous false negatives
International Conference on Harmonization Q3D and United States Pharmacopiea <232> , <233>
  Set new, lower limits for Elemental Impurities
  Focus on Inductively Coupled Plasma Mass Spectroscopy (ICP-MS) for quantitation of elements
  Unfamiliar Terrain for Pharma Labs

## Slide 5: Concerns for Upcoming Regulations
Experience
  Many labs lack the resources and experience for performing ICP-MS analysis
Sample Preparation
  Problems with Microwave Capability
  Total Digestion
  Metal Extraction

## Slide 6
Meet the Team

## Slide 7: Technical and Analytical Challenges (TAC) Coalition
Comprised of over 45 scientists from 5 countries
  7 Raw Material Suppliers
  8 Contract Laboratories
  1 Government Laboratory
  1 University Laboratory
Notes: Not if there are currently more than 5 countries represented.

## Slide 8: Analysis Team
Andy Kampfschulte
  Biostatistics Student Associate, Perrigo Company
  Biostatistics Graduate Student, GVSU
Rob Lievense
  Senior Statistician, Perrigo Company
  Adjunct Faculty, GVSU
Donna Seibert
  Senior Principal Scientist, Perrigo Company

## Slide 9
Study Setup and Design

## Slide 10: Study Design and Setup
Research Goal
  Provide a data-driven discussion of technical challenges
Setup
  Participating laboratories to evaluate to groups of tablets using a uniform sample preparation method for valid comparisons

## Slide 11: Data Description
2 Tablet Groups
  Group A: Lower, Native Level quantities of impurities
  Group B: Spiked, Higher concentration of impurities
13 Laboratories
8 Elements
  As, Cd, Co, Hg, Mo, Pb, Se, V
  Quantitated at ppm level
Uniform and Non-Uniform Sample Preparations

## Slide 12: Conclusions
Notes: Use a section header for each of the topics, so there is a clear transition to the audience.